## Room Schedule - BY FLOOR FINISH
Room Schedule - BY FLOOR FINISH
Number | Name | Area (m2) | Perimeter (m) | Level | Ceiling Finish | Floor Finish
1 | FOYER | 16 | 18.84 | GROUND FLOOR | Existing u/s of floor slab. | Bamboo flooring to spec.
2 | PASSAGE | 16.2 | 25.01 | GROUND FLOOR | Existing u/s of floor slab. | Bamboo flooring to spec.
3 | TV LOUNGE | 18.6 | 17.43 | GROUND FLOOR | Existing u/s of floor slab + new drop ceiling to spec. | Bamboo flooring to spec.
4 | READING ROOM | 16.8 | 16.81 | GROUND FLOOR | Existing u/s of floor slab. | Bamboo flooring to spec.
5 | DINING ROOM | 10.8 | 13.25 | GROUND FLOOR | Existing u/s of floor slab. | Bamboo flooring to spec.
6 | STUDY | 13.6 | 14.73 | GROUND FLOOR | Existing u/s of floor slab. | Bamboo flooring to spec.
7 | SEWING ROOM | 13.2 | 17.37 | GROUND FLOOR | Existing u/s of floor slab. | Bamboo flooring to spec.
13 | MASTER BEDROOM | 26.5 | 21.02 | FIRST FLOOR | New XPS insulation board to spec. | Bamboo flooring to spec.
14 | WALK-IN WARDROBE | 8 | 11.7 | FIRST FLOOR | New XPS insulation board to spec. | Bamboo flooring to spec.
16 | LANDING | 13.5 | 21.73 | FIRST FLOOR | New XPS insulation board to spec. | Bamboo flooring to spec.
17 | BEDROOM 2 | 15.3 | 16.46 | FIRST FLOOR | New XPS insulation board to spec. | Bamboo flooring to spec.
19 | WARDROBE | 3.2 | 7.28 | FIRST FLOOR | New XPS insulation board to spec. | Bamboo flooring to spec.
20 | PJ LOUNGE | 14.8 | 15.51 | FIRST FLOOR | New XPS insulation board to spec. | Bamboo flooring to spec.
21 | BEDROOM 4 | 19.5 | 18.59 | FIRST FLOOR | New XPS insulation board to spec. | Bamboo flooring to spec.
24 | BEDROOM 3 | 13.6 | 14.91 | FIRST FLOOR | New XPS insulation board to spec. | Bamboo flooring to spec.
25 | WARDROBE | 3 | 7.07 | FIRST FLOOR | New XPS insulation board to spec. | Bamboo flooring to spec.
Bamboo flooring to spec.: 16 |  | 222.7 | 257.71
8 | BATHROOM | 4 | 8.53 | GROUND FLOOR | Existing u/s of floor slab. | Floor tiling to specification.
11 | GUEST WC | 1.8 | 6.14 | GROUND FLOOR | Existing u/s of floor slab. | Floor tiling to specification.
15 | EN-SUITE MASTER BATHROOM | 10 | 15.38 | FIRST FLOOR | New XPS insulation board to spec. | Floor tiling to specification.
18 | BATHROOM 2 | 3.6 | 8.16 | FIRST FLOOR | New XPS insulation board to spec. | Floor tiling to specification.
22 | BATHROOM 4 | 4 | 8.54 | FIRST FLOOR | New XPS insulation board to spec. | Floor tiling to specification.
23 | BATHROOM 3 | 4.3 | 8.87 | FIRST FLOOR | New XPS insulation board to spec. | Floor tiling to specification.
Floor tiling to specification.: 6 |  | 27.8 | 55.62
9 | KITCHEN | 17.3 | 18.53 | GROUND FLOOR | Existing u/s of floor slab. | N/A
10 | HELPERS ROOM | 12.7 | 15.66 | GROUND FLOOR | Existing u/s of floor slab. | N/A
12 | GARAGE | 36.2 | 24.07 | GROUND FLOOR | Existing u/s of floor slab. | N/A
N/A: 3 |  | 66.2 | 58.25
Grand total: 25 |  | 316.7 | 371.59